## WERC Design Contest
Lab Hazard Assessment
Activity | Value | Comments
Working with gas under pressure, in gas cylinders or as part of experimental conditions
Working with water volume in excess of 1 gallon
Working with corrosive Liquids
Working with organic solvents or flammable chemicals
Working with acutely toxic , carcinogenic or highly hazardous chemicals
Working with air or water reactive chemicals
Working with engineered nanomaterials such as carbon nanotubes, silver wire, carbon fiber etc. or other dusts with particle sizes <10 um
Working with potentially explosive chemicals
Working with temperaturs <0C or >100C
Working with radioactive compounds
Working with Class 3 or Class 4 Lasers
Working with cryogenic materials including dry ice
Working with liquids >100C including from sources such as oil bath, water bath, pressure vessel, autoclave etc.)
Working with open flames
Working with loud equipment (>85 db)
Working with a centrifuge
Working with a sonicator
Working with sharp objects such as needles, knives, razor blades etc.
Working with machine hazards such as pinch points, caught by or stuck by dangers etc.
Working with electrical hazards such as un-insulated wiring, exposed control panels, wet conditions, etc.
Working with electrical voltage in excess of 110V
Working with batteries, all types such as lead-acid, nickel-cadmium, lithium etc.
Working with high center of gravity hazards such as tall apparatus that requires extra support etc.